## ALL ELEC MOTOR FINAL
GUIDE TO MACHINERY COSTS : ELECTRIC MOTORS | [7 empty] | 2015 - 2016
25.1 ELECTRIC MOTORS : ANNUAL USAGE OF 250 HOURS PER ANNUM (1000rpm 6-Pole High Efficiency)
Motor | KVA | Average | Average | Salvage | Average | Depreciation | Interest | Total | Total | Repair | WTD | WTD | WTD | WTD
Size | Required | Purchase | Use per | Value | Investment | Costs | Costs | Fixed | Fixed | and | Average | Total | Average | Average
|  | Price | Annum |  |  |  |  | Costs | Costs | Maintenance | Electricty | Variable | Total | Total
[9 empty] | excl. | Costs | Cost | Costs | Cost | Cost
[9 empty] | Interest |  |  |  |  | excl.
Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (c/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
1.1 | 1.2941 | 4183 | 250 | 418.3 | 2300.65 | 0.18823 | 0.89725 | 1.0855 | 0.18823 | 2.0915 | 1.4493 | 1.4702 | 2.5557 | 1.6584
1.5 | 1.7647 | 4949 | 250 | 494.9 | 2721.95 | 0.22271 | 1.0616 | 1.2843 | 0.22271 | 2.4745 | 1.9762 | 2.001 | 3.2853 | 2.2237
2.2 | 2.5882 | 5927 | 250 | 592.7 | 3259.85 | 0.26672 | 1.2713 | 1.5381 | 0.26672 | 2.9635 | 2.8985 | 2.9281 | 4.4662 | 3.1949
3 | 3.5294 | 7396 | 250 | 739.6 | 4067.8 | 0.33282 | 1.5864 | 1.9193 | 0.33282 | 3.698 | 3.9525 | 3.9895 | 5.9087 | 4.3223
4 | 4.7059 | 8600 | 250 | 860 | 4730 | 0.387 | 1.8447 | 2.2317 | 0.387 | 4.3 | 5.27 | 5.313 | 7.5447 | 5.7
5.5 | 6.4706 | 12046 | 250 | 1204.6 | 6625.3 | 0.54207 | 2.5839 | 3.1259 | 0.54207 | 6.023 | 7.2462 | 7.3065 | 10.4324 | 7.8485
7.5 | 8.8235 | 13276 | 250 | 1327.6 | 7301.8 | 0.59742 | 2.8477 | 3.4451 | 0.59742 | 6.638 | 9.8812 | 9.9476 | 13.3928 | 10.545
11 | 12.9412 | 21959 | 250 | 2195.9 | 12077.45 | 0.98815 | 4.7102 | 5.6984 | 0.98815 | 10.9795 | 14.4925 | 14.6023 | 20.3007 | 15.5905
15 | 17.6471 | 25773 | 250 | 2577.3 | 14175.15 | 1.1598 | 5.5283 | 6.6881 | 1.1598 | 12.8865 | 19.7625 | 19.8914 | 26.5795 | 21.0511
18.5 | 21.7647 | 29958 | 250 | 2995.8 | 16476.9 | 1.3481 | 6.426 | 7.7741 | 1.3481 | 14.979 | 24.3738 | 24.5235 | 32.2976 | 25.8717
22 | 25.8824 | 38037 | 250 | 3803.7 | 20920.35 | 1.7117 | 8.1589 | 9.8706 | 1.7117 | 19.0185 | 28.985 | 29.1752 | 39.0458 | 30.8868
30 | 35.2941 | 47774 | 250 | 4777.4 | 26275.7 | 2.1498 | 10.2475 | 12.3974 | 2.1498 | 23.887 | 39.525 | 39.7639 | 52.1612 | 41.9137
37 | 43.5294 | 54323 | 250 | 5432.3 | 29877.65 | 2.4445 | 11.6523 | 14.0968 | 2.4445 | 27.1615 | 48.7475 | 49.0191 | 63.1159 | 51.4637
45 | 52.9412 | 70697 | 250 | 7069.7 | 38883.35 | 3.1814 | 15.1645 | 18.3459 | 3.1814 | 35.3485 | 59.2875 | 59.641 | 77.9869 | 62.8224
55 | 64.7059 | 88683 | 250 | 8868.3 | 48775.65 | 3.9907 | 19.0225 | 23.0132 | 3.9907 | 44.3415 | 72.4625 | 72.9059 | 95.9192 | 76.8967
75 | 88.2353 | 114784 | 250 | 11478.4 | 63131.2 | 5.1653 | 24.6212 | 29.7864 | 5.1653 | 57.392 | 98.8125 | 99.3864 | 129.1729 | 104.5517
90 | 105.8824 | 131329 | 250 | 13132.9 | 72230.95 | 5.9098 | 28.1701 | 34.0799 | 5.9098 | 65.6645 | 118.575 | 119.2316 | 153.3115 | 125.1415
110 | 129.4118 | 164554 | 250 | 16455.4 | 90504.7 | 7.4049 | 35.2968 | 42.7018 | 7.4049 | 82.277 | 144.925 | 145.7478 | 188.4495 | 153.1527
132 | 155.2941 | 201485 | 250 | 20148.5 | 110816.75 | 9.0668 | 43.2185 | 52.2854 | 9.0668 | 100.7425 | 173.91 | 174.9174 | 227.2028 | 183.9843
160 | 188.2353 | 229064 | 250 | 22906.4 | 125985.2 | 10.3079 | 49.1342 | 59.4421 | 10.3079 | 114.532 | 210.8 | 211.9453 | 271.3874 | 222.2532
185 | 217.6471 | 266240 | 250 | 26624 | 146432 | 11.9808 | 57.1085 | 69.0893 | 11.9808 | 133.12 | 243.7375 | 245.0687 | 314.158 | 257.0495
200 | 235.29 | 273186 | 250 | 27318.6 | 150252.3 | 12.2934 | 58.5984 | 70.8918 | 12.2934 | 136.593 | 263.5 | 264.8659 | 335.7577 | 277.1593
GUIDE TO MACHINERY COSTS : ELECTRIC MOTORS | [7 empty] | 2015 - 2016
25.2 ELECTRIC MOTORS : ANNUAL USAGE OF 500 HOURS PER ANNUM (1000rpm 6-Pole High Efficiency)
Motor | KVA | Average | Average | Salvage | Average | Depreciation | Interest | Total | Total | Repair | WTD | WTD | WTD | WTD
Size | Required | Purchase | Use per | Value | Investment | Costs | Costs | Fixed | Fixed | and | Average | Total | Average | Average
|  | Price | Annum |  |  |  |  | Costs | Costs | Maintenance | Electricty | Variable | Total | Total
[9 empty] | excl. | Costs | Cost | Costs | Cost | Cost
[9 empty] | Interest |  |  |  |  | excl.
Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (c/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
1.1 | 1.2941 | 4183 | 500 | 418.3 | 2300.65 | 0.18823 | 0.44863 | 0.63686 | 0.18823 | 2.0915 | 1.4493 | 1.4702 | 2.107 | 1.6584
1.5 | 1.7647 | 4949 | 500 | 494.9 | 2721.95 | 0.22271 | 0.53078 | 0.75349 | 0.22271 | 2.4745 | 1.9762 | 2.001 | 2.7545 | 2.2237
2.2 | 2.5882 | 5927 | 500 | 592.7 | 3259.85 | 0.26672 | 0.63567 | 0.90239 | 0.26672 | 2.9635 | 2.8985 | 2.9281 | 3.8305 | 3.1949
3 | 3.5294 | 7396 | 500 | 739.6 | 4067.8 | 0.33282 | 0.79322 | 1.126 | 0.33282 | 3.698 | 3.9525 | 3.9895 | 5.1155 | 4.3223
4 | 4.7059 | 8600 | 500 | 860 | 4730 | 0.387 | 0.92235 | 1.3094 | 0.387 | 4.3 | 5.27 | 5.313 | 6.6223 | 5.7
5.5 | 6.4706 | 12046 | 500 | 1204.6 | 6625.3 | 0.54207 | 1.2919 | 1.834 | 0.54207 | 6.023 | 7.2462 | 7.3065 | 9.1405 | 7.8485
7.5 | 8.8235 | 13276 | 500 | 1327.6 | 7301.8 | 0.59742 | 1.4239 | 2.0213 | 0.59742 | 6.638 | 9.8812 | 9.9476 | 11.9689 | 10.545
11 | 12.9412 | 21959 | 500 | 2195.9 | 12077.45 | 0.98815 | 2.3551 | 3.3433 | 0.98815 | 10.9795 | 14.4925 | 14.6023 | 17.9456 | 15.5905
15 | 17.6471 | 25773 | 500 | 2577.3 | 14175.15 | 1.1598 | 2.7642 | 3.9239 | 1.1598 | 12.8865 | 19.7625 | 19.8914 | 23.8153 | 21.0511
18.5 | 21.7647 | 29958 | 500 | 2995.8 | 16476.9 | 1.3481 | 3.213 | 4.5611 | 1.3481 | 14.979 | 24.3738 | 24.5235 | 29.0846 | 25.8717
22 | 25.8824 | 38037 | 500 | 3803.7 | 20920.35 | 1.7117 | 4.0795 | 5.7911 | 1.7117 | 19.0185 | 28.985 | 29.1752 | 34.9663 | 30.8868
30 | 35.2941 | 47774 | 500 | 4777.4 | 26275.7 | 2.1498 | 5.1238 | 7.2736 | 2.1498 | 23.887 | 39.525 | 39.7639 | 47.0375 | 41.9137
37 | 43.5294 | 54323 | 500 | 5432.3 | 29877.65 | 2.4445 | 5.8261 | 8.2707 | 2.4445 | 27.1615 | 48.7475 | 49.0191 | 57.2898 | 51.4637
45 | 52.9412 | 70697 | 500 | 7069.7 | 38883.35 | 3.1814 | 7.5823 | 10.7636 | 3.1814 | 35.3485 | 59.2875 | 59.641 | 70.4046 | 62.8224
55 | 64.7059 | 88683 | 500 | 8868.3 | 48775.65 | 3.9907 | 9.5113 | 13.502 | 3.9907 | 44.3415 | 72.4625 | 72.9059 | 86.4079 | 76.8967
75 | 88.2353 | 114784 | 500 | 11478.4 | 63131.2 | 5.1653 | 12.3106 | 17.4759 | 5.1653 | 57.392 | 98.8125 | 99.3864 | 116.8623 | 104.5517
90 | 105.8824 | 131329 | 500 | 13132.9 | 72230.95 | 5.9098 | 14.085 | 19.9948 | 5.9098 | 65.6645 | 118.575 | 119.2316 | 139.2265 | 125.1415
110 | 129.4118 | 164554 | 500 | 16455.4 | 90504.7 | 7.4049 | 17.6484 | 25.0533 | 7.4049 | 82.277 | 144.925 | 145.7478 | 170.8011 | 153.1527
132 | 155.2941 | 201485 | 500 | 20148.5 | 110816.75 | 9.0668 | 21.6093 | 30.6761 | 9.0668 | 100.7425 | 173.91 | 174.9174 | 205.5935 | 183.9843
160 | 188.2353 | 229064 | 500 | 22906.4 | 125985.2 | 10.3079 | 24.5671 | 34.875 | 10.3079 | 114.532 | 210.8 | 211.9453 | 246.8203 | 222.2532
185 | 217.6471 | 266240 | 500 | 26624 | 146432 | 11.9808 | 28.5542 | 40.535 | 11.9808 | 133.12 | 243.7375 | 245.0687 | 285.6037 | 257.0495
200 | 235.29 | 273186 | 500 | 27318.6 | 150252.3 | 12.2934 | 29.2992 | 41.5926 | 12.2934 | 136.593 | 263.5 | 264.8659 | 306.4585 | 277.1593
GUIDE TO MACHINERY COSTS : ELECTRIC MOTORS | [7 empty] | 2015 - 2016
25.3 ELECTRIC MOTORS : ANNUAL USAGE OF 1500 HOURS PER ANNUM (1000rpm 6-Pole High Efficiency)
Motor | KVA | Average | Average | Salvage | Average | Depreciation | Interest | Total | Total | Repair | WTD | WTD | WTD | WTD
Size | Required | Purchase | Use per | Value | Investment | Costs | Costs | Fixed | Fixed | and | Average | Total | Average | Average
|  | Price | Annum |  |  |  |  | Costs | Costs | Maintenance | Electricty | Variable | Total | Total
[9 empty] | excl. | Costs | Cost | Costs | Cost | Cost
[9 empty] | Interest |  |  |  |  | excl.
Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (c/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
1.1 | 1.2941 | 4183 | 1500 | 418.3 | 2300.65 | 0.18823 | 0.14954 | 0.33778 | 0.18823 | 2.0915 | 1.4493 | 1.4702 | 1.8079 | 1.6584
1.5 | 1.7647 | 4949 | 1500 | 494.9 | 2721.95 | 0.22271 | 0.17693 | 0.39963 | 0.22271 | 2.4745 | 1.9762 | 2.001 | 2.4006 | 2.2237
2.2 | 2.5882 | 5927 | 1500 | 592.7 | 3259.85 | 0.26672 | 0.21189 | 0.47861 | 0.26672 | 2.9635 | 2.8985 | 2.9281 | 3.4067 | 3.1949
3 | 3.5294 | 7396 | 1500 | 739.6 | 4067.8 | 0.33282 | 0.26441 | 0.59723 | 0.33282 | 3.698 | 3.9525 | 3.9895 | 4.5867 | 4.3223
4 | 4.7059 | 8600 | 1500 | 860 | 4730 | 0.387 | 0.30745 | 0.69445 | 0.387 | 4.3 | 5.27 | 5.313 | 6.0074 | 5.7
5.5 | 6.4706 | 12046 | 1500 | 1204.6 | 6625.3 | 0.54207 | 0.43064 | 0.97271 | 0.54207 | 6.023 | 7.2462 | 7.3065 | 8.2792 | 7.8485
7.5 | 8.8235 | 13276 | 1500 | 1327.6 | 7301.8 | 0.59742 | 0.47462 | 1.072 | 0.59742 | 6.638 | 9.8812 | 9.9476 | 11.0197 | 10.545
11 | 12.9412 | 21959 | 1500 | 2195.9 | 12077.45 | 0.98815 | 0.78503 | 1.7732 | 0.98815 | 10.9795 | 14.4925 | 14.6023 | 16.3755 | 15.5905
15 | 17.6471 | 25773 | 1500 | 2577.3 | 14175.15 | 1.1598 | 0.92138 | 2.0812 | 1.1598 | 12.8865 | 19.7625 | 19.8914 | 21.9725 | 21.0511
18.5 | 21.7647 | 29958 | 1500 | 2995.8 | 16476.9 | 1.3481 | 1.071 | 2.4191 | 1.3481 | 14.979 | 24.3738 | 24.5235 | 26.9426 | 25.8717
22 | 25.8824 | 38037 | 1500 | 3803.7 | 20920.35 | 1.7117 | 1.3598 | 3.0715 | 1.7117 | 19.0185 | 28.985 | 29.1752 | 32.2467 | 30.8868
30 | 35.2941 | 47774 | 1500 | 4777.4 | 26275.7 | 2.1498 | 1.7079 | 3.8578 | 2.1498 | 23.887 | 39.525 | 39.7639 | 43.6216 | 41.9137
37 | 43.5294 | 54323 | 1500 | 5432.3 | 29877.65 | 2.4445 | 1.942 | 4.3866 | 2.4445 | 27.1615 | 48.7475 | 49.0191 | 53.4057 | 51.4637
45 | 52.9412 | 70697 | 1500 | 7069.7 | 38883.35 | 3.1814 | 2.5274 | 5.7088 | 3.1814 | 35.3485 | 59.2875 | 59.641 | 65.3498 | 62.8224
55 | 64.7059 | 88683 | 1500 | 8868.3 | 48775.65 | 3.9907 | 3.1704 | 7.1612 | 3.9907 | 44.3415 | 72.4625 | 72.9059 | 80.0671 | 76.8967
75 | 88.2353 | 114784 | 1500 | 11478.4 | 63131.2 | 5.1653 | 4.1035 | 9.2688 | 5.1653 | 57.392 | 98.8125 | 99.3864 | 108.6552 | 104.5517
90 | 105.8824 | 131329 | 1500 | 13132.9 | 72230.95 | 5.9098 | 4.695 | 10.6048 | 5.9098 | 65.6645 | 118.575 | 119.2316 | 129.8365 | 125.1415
110 | 129.4118 | 164554 | 1500 | 16455.4 | 90504.7 | 7.4049 | 5.8828 | 13.2877 | 7.4049 | 82.277 | 144.925 | 145.7478 | 159.0355 | 153.1527
132 | 155.2941 | 201485 | 1500 | 20148.5 | 110816.75 | 9.0668 | 7.2031 | 16.2699 | 9.0668 | 100.7425 | 173.91 | 174.9174 | 191.1873 | 183.9843
160 | 188.2353 | 229064 | 1500 | 22906.4 | 125985.2 | 10.3079 | 8.189 | 18.4969 | 10.3079 | 114.532 | 210.8 | 211.9453 | 230.4422 | 222.2532
185 | 217.6471 | 266240 | 1500 | 26624 | 146432 | 11.9808 | 9.5181 | 21.4989 | 11.9808 | 133.12 | 243.7375 | 245.0687 | 266.5676 | 257.0495
200 | 235.29 | 273186 | 1500 | 27318.6 | 150252.3 | 12.2934 | 9.7664 | 22.0598 | 12.2934 | 136.593 | 263.5 | 264.8659 | 286.9257 | 277.1593
GUIDE TO MACHINERY COSTS : ELECTRIC MOTORS | [7 empty] | 2015 - 2016
25.4 ELECTRIC MOTORS : ANNUAL USAGE OF 2500 HOURS PER ANNUM (1000rpm 6-Pole High Efficiency)
Motor | KVA | Average | Average | Salvage | Average | Depreciation | Interest | Total | Total | Repair | WTD | WTD | WTD | WTD
Size | Required | Purchase | Use per | Value | Investment | Costs | Costs | Fixed | Fixed | and | Average | Total | Average | Average
|  | Price | Annum |  |  |  |  | Costs | Costs | Maintenance | Electricty | Variable | Total | Total
[9 empty] | excl. | Costs | Cost | Costs | Cost | Cost
[9 empty] | Interest |  |  |  |  | excl.
Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (c/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
1.1 | 1.2941 | 4183 | 1500 | 418.3 | 2300.65 | 0.18823 | 0.089725 | 0.27796 | 0.18823 | 2.0915 | 1.4493 | 1.4702 | 1.7481 | 1.6584
1.5 | 1.7647 | 4949 | 1500 | 494.9 | 2721.95 | 0.22271 | 0.10616 | 0.32886 | 0.22271 | 2.4745 | 1.9762 | 2.001 | 2.3299 | 2.2237
2.2 | 2.5882 | 5927 | 1500 | 592.7 | 3259.85 | 0.26672 | 0.12713 | 0.39385 | 0.26672 | 2.9635 | 2.8985 | 2.9281 | 3.322 | 3.1949
3 | 3.5294 | 7396 | 1500 | 739.6 | 4067.8 | 0.33282 | 0.15864 | 0.49146 | 0.33282 | 3.698 | 3.9525 | 3.9895 | 4.4809 | 4.3223
4 | 4.7059 | 8600 | 1500 | 860 | 4730 | 0.387 | 0.18447 | 0.57147 | 0.387 | 4.3 | 5.27 | 5.313 | 5.8845 | 5.7
5.5 | 6.4706 | 12046 | 1500 | 1204.6 | 6625.3 | 0.54207 | 0.25839 | 0.80046 | 0.54207 | 6.023 | 7.2462 | 7.3065 | 8.1069 | 7.8485
7.5 | 8.8235 | 13276 | 1500 | 1327.6 | 7301.8 | 0.59742 | 0.28477 | 0.88219 | 0.59742 | 6.638 | 9.8812 | 9.9476 | 10.8298 | 10.545
11 | 12.9412 | 21959 | 1500 | 2195.9 | 12077.45 | 0.98815 | 0.47102 | 1.4592 | 0.98815 | 10.9795 | 14.4925 | 14.6023 | 16.0615 | 15.5905
15 | 17.6471 | 25773 | 1500 | 2577.3 | 14175.15 | 1.1598 | 0.55283 | 1.7126 | 1.1598 | 12.8865 | 19.7625 | 19.8914 | 21.604 | 21.0511
18.5 | 21.7647 | 29958 | 1500 | 2995.8 | 16476.9 | 1.3481 | 0.6426 | 1.9907 | 1.3481 | 14.979 | 24.3738 | 24.5235 | 26.5142 | 25.8717
22 | 25.8824 | 38037 | 1500 | 3803.7 | 20920.35 | 1.7117 | 0.81589 | 2.5276 | 1.7117 | 19.0185 | 28.985 | 29.1752 | 31.7027 | 30.8868
30 | 35.2941 | 47774 | 1500 | 4777.4 | 26275.7 | 2.1498 | 1.0248 | 3.1746 | 2.1498 | 23.887 | 39.525 | 39.7639 | 42.9385 | 41.9137
37 | 43.5294 | 54323 | 1500 | 5432.3 | 29877.65 | 2.4445 | 1.1652 | 3.6098 | 2.4445 | 27.1615 | 48.7475 | 49.0191 | 52.6289 | 51.4637
45 | 52.9412 | 70697 | 1500 | 7069.7 | 38883.35 | 3.1814 | 1.5165 | 4.6978 | 3.1814 | 35.3485 | 59.2875 | 59.641 | 64.3388 | 62.8224
55 | 64.7059 | 88683 | 1500 | 8868.3 | 48775.65 | 3.9907 | 1.9023 | 5.893 | 3.9907 | 44.3415 | 72.4625 | 72.9059 | 78.7989 | 76.8967
75 | 88.2353 | 114784 | 1500 | 11478.4 | 63131.2 | 5.1653 | 2.4621 | 7.6274 | 5.1653 | 57.392 | 98.8125 | 99.3864 | 107.0138 | 104.5517
90 | 105.8824 | 131329 | 1500 | 13132.9 | 72230.95 | 5.9098 | 2.817 | 8.7268 | 5.9098 | 65.6645 | 118.575 | 119.2316 | 127.9585 | 125.1415
110 | 129.4118 | 164554 | 1500 | 16455.4 | 90504.7 | 7.4049 | 3.5297 | 10.9346 | 7.4049 | 82.277 | 144.925 | 145.7478 | 156.6824 | 153.1527
132 | 155.2941 | 201485 | 1500 | 20148.5 | 110816.75 | 9.0668 | 4.3219 | 13.3887 | 9.0668 | 100.7425 | 173.91 | 174.9174 | 188.3061 | 183.9843
160 | 188.2353 | 229064 | 1500 | 22906.4 | 125985.2 | 10.3079 | 4.9134 | 15.2213 | 10.3079 | 114.532 | 210.8 | 211.9453 | 227.1666 | 222.2532
185 | 217.6471 | 266240 | 1500 | 26624 | 146432 | 11.9808 | 5.7108 | 17.6916 | 11.9808 | 133.12 | 243.7375 | 245.0687 | 262.7603 | 257.0495
200 | 235.29 | 273186 | 1500 | 27318.6 | 150252.3 | 12.2934 | 5.8598 | 18.1532 | 12.2934 | 136.593 | 263.5 | 264.8659 | 283.0191 | 277.1593
Notes | 1) | Life period |  |  | 20000 | hours
| 2) | Salvage value |  |  | 10% | of Average purchase price
| 3) | Average investment |  |  | = (Average purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Average purchase price - Salvage value) / Life period in hours
| 5) | Interest cost per hour |  |  | 9.75% | of Average investment / Hours per annum
| 6) | Repair & Maintenance costs per hour |  |  | 10% | of Average purchase price / Life period in hours
| 7) | Power factor (KVA needed) |  |  | 85% | of Motor kW size (i.e. 85.00% of motor kW)
| 8) | Weighted average cost |  |  | 1.55 | per kW Hr
| 9) | Cost |  |  | = Motor size (kW) x Power factor x Weighted average cost |  |  |  |  | (Power factor - see Note 7)
| 10) | Transformer size for landrate 1 |  |  | 25 | KVA
|  | Transformer size for landrate 2 |  |  | 50 | KVA
|  | Transformer size for landrate 3 |  |  | 100 | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.

## ELEC MOTORS FINAL (2) (hidden)
#REF! | [7 empty] | #REF!
#REF! | #REF!
|  | Purchase | Average | Salvage | Average | Depre- | Interest | Total | Tot. Fixed | Repairs | WTD | WTD | WTD AVG | WTD AVG
Size | KVA | Price | Use per | Value | Investment | ciation |  | Fixed | Costs excl. | and | Average | Total | Total Cost | Total Cost
| Required |  | Annum |  |  |  |  | Costs | Interest | Maintain | Electricty | Variable |  | excl.
[11 empty] | Cost | Costs |  | Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (R/Hr) | (R/Hr)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes | 1) | Average life |  |  | #REF! | hours
| 2) | Salvage value |  |  | #REF! | of purchase price
| 3) | Average investment |  |  | = (Purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Purchase price - Salvage value) / Life period in hours (in Cents / Hour)
| 5) | Interest cost per hour |  |  | #REF! | of average investment / Hours per annum (in Cents / Hour)
| 6) | Repairs & maintenance cost per hour |  |  | #REF! | of purchase price / Life period in hours (in Cents / Hour)
| 7) | KVA needed (power factor) |  |  | #REF! | of kW size
| 8) | Weighted average for land rates |  |  | #REF! | R / kW Hr
| 9) | Cost |  |  | = Size (kW) x KVA Needed x Weighted Average (in Rand / Hour)
| 10) | Transformer size for landrate 1 |  |  | #REF! | KVA
|  | Transformer size for landrate 2 |  |  | #REF! | KVA
|  | Transformer size for landrate 3 |  |  | #REF! | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.
National Department Agriculture, Forestry and Fisheries; Directorate: Statistics and Economic Analysis; Sub-Directorate: Economic Research
KwaZulu-Natal Department Agriculture and Rural Development; Diretorate: Farmer Development Support; Sub-Directorate: Agricultural Economics
#REF! | [7 empty] | #REF!
#REF! | #REF!
|  | Purchase | Average | Salvage | Average | Depre- | Interest | Total | Tot. Fixed | Repairs | WTD | WTD | WTD AVG | WTD AVG
Size | KVA | Price | Use per | Value | Investment | ciation |  | Fixed | Costs excl. | and | Average | Total | Total Cost | Total Cost
| Required |  | Annum |  |  |  |  | Costs | Interest | Maintain | Electricty | Variable |  | excl.
[11 empty] | Cost | Costs |  | Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (c/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes | 1) | Average life |  |  | #REF! | hours
| 2) | Salvage value |  |  | #REF! | of purchase price
| 3) | Average investment |  |  | = (Purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Purchase price - Salvage value) / Life period in hours (in Cents / Hour)
| 5) | Interest cost per hour |  |  | #REF! | of average investment / Hours per annum (in Cents / Hour)
| 6) | Repairs & maintenance cost per hour |  |  | #REF! | of purchase price / Life period in hours (in Cents / Hour)
| 7) | KVA needed (power factor) |  |  | #REF! | of kW size
| 8) | Weighted average for land rates |  |  | #REF! | R / kW Hr
| 9) | Cost |  |  | = Size (kW) x KVA Needed x Weighted Average (in Rand / Hour)
| 10) | Transformer size for landrate 1 |  |  | #REF! | KVA
|  | Transformer size for landrate 2 |  |  | #REF! | KVA
|  | Transformer size for landrate 3 |  |  | #REF! | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.
National Department Agriculture, Forestry and Fisheries; Directorate: Statistics and Economic Analysis; Sub-Directorate: Economic Research
KwaZulu-Natal Department Agriculture and Rural Development; Diretorate: Farmer Development Support; Sub-Directorate: Agricultural Economics
#REF! | [7 empty] | #REF!
#REF! | #REF!
|  | Purchase | Average | Salvage | Average | Depre- | Interest | Total | Tot. Fixed | Repairs | WTD | WTD | WTD AVG | WTD AVG
Size | KVA | Price | Use per | Value | Investment | ciation |  | Fixed | Costs excl. | and | Average | Total | Total Cost | Total Cost
| Required |  | Annum |  |  |  |  | Costs | Interest | Maintain | Electricty | Variable |  | excl.
[11 empty] | Cost | Costs |  | Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (Cents/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes | 1) | Average life |  |  | #REF! | hours
| 2) | Salvage value |  |  | #REF! | of purchase price
| 3) | Average investment |  |  | = (Purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Purchase price - Salvage value) / Life period in hours (in Cents / Hour)
| 5) | Interest cost per hour |  |  | #REF! | of average investment / Hours per annum (in Cents / Hour)
| 6) | Repairs & maintenance cost per hour |  |  | #REF! | of purchase price / Life period in hours (in Cents / Hour)
| 7) | KVA needed (power factor) |  |  | #REF! | of kW size
| 8) | Weighted average for land rates |  |  | #REF! | R / kW Hr
| 9) | Cost |  |  | = Size (kW) x KVA Needed x Weighted Average (in Rand / Hour)
| 10) | Transformer size for landrate 1 |  |  | #REF! | KVA
|  | Transformer size for landrate 2 |  |  | #REF! | KVA
|  | Transformer size for landrate 3 |  |  | #REF! | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.
National Department Agriculture, Forestry and Fisheries; Directorate: Statistics and Economic Analysis; Sub-Directorate: Economic Research
KwaZulu-Natal Department Agriculture and Rural Development; Diretorate: Farmer Development Support; Sub-Directorate: Agricultural Economics
#REF! | [7 empty] | #REF!
#REF! | #REF!
|  | Purchase | Average | Salvage | Average | Depre- | Interest | Total | Tot. Fixed | Repairs | WTD | WTD | WTD AVG | WTD AVG
Size | KVA | Price | Use per | Value | Investment | ciation |  | Fixed | Costs excl. | and | Average | Total | Total Cost | Total Cost
| Required |  | Annum |  |  |  |  | Costs | Interest | Maintain | Electricty | Variable |  | excl.
[11 empty] | Cost | Costs |  | Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (Cents/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes | 1) | Average life |  |  | #REF! | hours
| 2) | Salvage value |  |  | #REF! | of purchase price
| 3) | Average investment |  |  | = (Purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Purchase price - Salvage value) / Life period in hours (in Cents / Hour)
| 5) | Interest cost per hour |  |  | #REF! | of average investment / Hours per annum (in Cents / Hour)
| 6) | Repairs & maintenance cost per hour |  |  | #REF! | of purchase price / Life period in hours (in Cents / Hour)
| 7) | KVA needed (power factor) |  |  | #REF! | of kW size
| 8) | Weighted average for land rates |  |  | #REF! | R / kW Hr
| 9) | Cost |  |  | = Size (kW) x KVA Needed x Weighted Average (in Rand / Hour)
| 10) | Transformer size for landrate 1 |  |  | #REF! | KVA
|  | Transformer size for landrate 2 |  |  | #REF! | KVA
|  | Transformer size for landrate 3 |  |  | #REF! | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.
National Department Agriculture, Forestry and Fisheries; Directorate: Statistics and Economic Analysis; Sub-Directorate: Economic Research
KwaZulu-Natal Department Agriculture and Rural Development; Diretorate: Farmer Development Support; Sub-Directorate: Agricultural Economics
#REF! | [7 empty] | #REF!
#REF! | #REF!
|  | Purchase | Average | Salvage | Average | Depre- | Interest | Total | Tot. Fixed | Repairs | WTD | WTD | WTD AVG | WTD AVG
Size | KVA | Price | Use per | Value | Investment | ciation |  | Fixed | Costs excl. | and | Average | Total | Total Cost | Total Cost
| Required |  | Annum |  |  |  |  | Costs | Interest | Maintain | Electricty | Variable |  | excl.
[11 empty] | Cost | Costs |  | Interest
(kW) |  | (R) | (Hr) | (R) | (R) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (Cents/Hr) | (R/Hr) | (R/Hr) | (R/Hr) | (R/Hr)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Notes | 1) | Average life |  |  | #REF! | hours
| 2) | Salvage value |  |  | #REF! | of purchase price
| 3) | Average investment |  |  | = (Purchase price + Salvage value) / 2
| 4) | Depreciation cost per hour |  |  | = (Purchase price - Salvage value) / Life period in hours (in Cents / Hour)
| 5) | Interest cost per hour |  |  | #REF! | of average investment / Hours per annum (in Cents / Hour)
| 6) | Repairs & maintenance cost per hour |  |  | #REF! | of purchase price / Life period in hours (in Cents / Hour)
| 7) | KVA needed (power factor) |  |  | #REF! | of kW size
| 8) | Weighted average for land rates |  |  | #REF! | R / kW Hr
| 9) | Cost |  |  | = Size (kW) x KVA Needed x Weighted Average (in Rand / Hour)
| 10) | Transformer size for landrate 1 |  |  | #REF! | KVA
|  | Transformer size for landrate 2 |  |  | #REF! | KVA
|  | Transformer size for landrate 3 |  |  | #REF! | KVA
| 11) | As the required KVA approaches the allotted landrate transformer size, the user is compelled to use a higher capacity transformer.
| 12) | Note these costs are only guidelines and each new electrical installation will need its own evaluation.
| 13) | Each new connection must be evaluated against the current use of the transformer to be used.
National Department Agriculture, Forestry and Fisheries; Directorate: Statistics and Economic Analysis; Sub-Directorate: Economic Research
KwaZulu-Natal Department Agriculture and Rural Development; Diretorate: Farmer Development Support; Sub-Directorate: Agricultural Economics