STANDARD OPERATING PROCEDURE

ON

THE SUBMISION OF ANIMAL

AND PROCESSED PRODUCTS SAMPLES TO ANALYTICAL SERVICES AND THE EVALUATION OF TEST RESULTS

INDEX										Page

1.	OBJECTIVE									2

2.	SCOPE									2

3.	DEFINITIONS								2 - 3

4.	REFERENCE TO REGULATORY REQUIREMENTS			3

# 5.	ROLE-PLAYERS, ROLES AND RESPONSIBILITIES

  - Inspection Services						3 - 4

  - Analytical Services						4

  - Animal and Processed Products Division		4 - 5

6.	SAMPLING SIZE								5

7.	HANDLING AND DISPATCHING OF SAMPLES			6

Annexure A										7

Annexure B										8

Annexure C										9

1.	OBJECTIVE

To have imported and locally produced Animal and Processed Products analysed for compositional requirements as prescribed in the regulations promulgated in terms of the Agricultural Product Standards Act, 1990 (Act No. 119 of 1990).

# 2.	SCOPE

This Standard Operating Procedure makes provision for the procedure of submitting Animal and Processed Products to Analytical Services. Procedures to include sampling, handling, analysis, distribution and evaluation of results.

# 3.	DEFINITIONS

# Where used in this standard operating procedure –

# “IS” means the Directorate Inspection Services;

# “A & PP Division” means the division Animal and Processed Products in the Subdirectorate Agricultural Product Quality Assurance;

# “Analytical Services” means the laboratory in the subdirectorate, National Analytical Services, division Analytical Services North situated in Pretoria;

# “Animal and processed products” means products regulated under the Agricultural Product Standards Act 1990 (Act 119 of 1990);

# "Executive Officer" means the officer designated under section 2(1) of the Agricultural Product Standards Act, 1990 (Act No. 119 of 1990);

# "Inspector" means the Executive Officer or an officer under his or her control;

# “sampling" means the procedure used to draw a sample; and

“the Act” means the Agricultural Product Standards Act, 1990 (Act No. 119 of 1990).

# 4.	REFERENCE TO REGULATORY REQUIREMENTS

# A list of the applicable regulations published in terms of the Act is included as 	Annexure A.

# ROLE-PLAYERS, ROLES AND RESPONSIBILITIES

# Inspection Services (IS)

    - Taking at random a representative sample from the retail or at the manufacturer, packer or importer concerned.

    - Marking of the samples with the internal number for reference purposes.

    - Completing a memorandum (Annexure B) with the sample details and submit it together with the samples to Analytical Services to the following responsible persons:

      - Nolene du Toit – Dairy, imitation dairy, mayonnaise, salad dressings and fat spread samples (Tel 012 319 6089; Agriculture Place, room W-GF-02)

      - Tersia de Beer – Vinegar, Honey, fruit juice and nectar samples (Tel 012 319 6087; Agriculture Place, room W-GF-02)

      - Solomon Mathebula – Dried fruit samples (Tel 012 319 6085; Agriculture Place, room W-GF-01B)

    - Where samples need to be send to outside laboratories for analysis, specific arrangements must be done in writing in advance and agreed by Analytical Services before sending such samples to outside laboratories.

5.1.5	Evaluating the final results, in accordance with specific regulation requirements and forwarding it to the manufacturer, packer, retailer or importer.

    - Taking the necessary actions when the product does not comply with the relevant legislation.

    - Taking of further samples if and when required.

# 5.2.	Analytical Services

    - Samples are received, analysed and reported by the laboratory as prescribed by the Quality Assurance System of Analytical Services North that is in compliance with the ISO/IEC 17025 standard General requirements for the competence of testing and calibration laboratories.

    - Forwarding a copy of the analysis report directly to the inspector.

    - Forwarding a copy of the analysis report together with a copy of the memorandum to the responsible person in the A & PP division (Annexure C)

    - At least annually review test profile.

    - Liaise internationally with regard to analytical methodology.

    - Introduce and evaluate new and existing test methods in cooperation with the officials of the A & PP Division.

# 5.3.	Animal and Processed Products Division

    - Receiving the analysis report and evaluating the results (for internal use only).

    - Updating it on the appropriate analysis file.

    - Evaluate results to detect problems in the market or with specific manufacturers or packers, where applicable.

    - Should the need arises, request IS to obtain further samples and Analytical Services to repeat analysis.

    - Updating regulations to keep in line with international standards.

    - Inform the Analytical Services division of new tests needed for new or updated Regulations.

- SAMPLING SIZE

The minimum size required for laboratory samples is as follows:

| Product | Minimum size of sample |
| --- | --- |
| Bread | Whole bread |
| Butter oil | 250g |
| Butter; Modified butter | 250g |
| Buttermilk; Cultured milk | 250ml |
| Cheese powder | 250g |
| Cheese spread | 250g |
| Cheese; Process cheese | 250g |
| Condensed milk | 250g |
| Cream cheese; Cottage cheese | 250g |
| Cream; Imitation cream | 250g |
| Dairy liquid blend; Cultured liquid blend | 250ml |
| Dried Fruit | 500g |
| Fat spreads | 250g |
| Fruit Juice | 500ml |
| Fruit Nectar | 500ml |
| Honey | 500g |
| Ice cream & ice mixes | 250g |
| Mayonnaise | 250g |
| Milk powder; Buttermilk powder; Whey powder ; Dairy powder blend, | 250g |
| Milk; Reconstituted milk; Imitation milk/Blend | 500ml |
| Salad Dressings | 250g |
| Vinegar | 500ml |
| Yoghurt | 250g |

- HANDLING AND DISPATCHING OF SAMPLES

  - Samples should be dispatched in the original, unopened container/packaging

7.2	In the case of products normally kept under refrigeration, the cold chain should 	be maintained.

7.3	Samples must reach the laboratory in the same condition as when it was   	sampled.

7.4	Samples shall be submitted and analyzed before the expiry/best before date 	indicate on the container/packaging.

Annexure A

# LIST OF REGULATIONS

| PRODUCT | REGULATION | AMENDMENT OF REGULATIONS |
| --- | --- | --- |
| Dairy products and imitation dairy products | R.2581 - 20/11/87 | R.1059 - 03/06/88 R.2141 - 06/10/89 R.1465 - 26/08/94 |
| Fat spreads | R. 194 - 09/03/2012 |  |
| Vinegar | R.1393 - 15/09/95 | - |
| Dried fruit | Dispensation dated 14 August 1998 | - |
| Honey | R. 835 – 25/08/00 | - |
| Fruit juice and drinks | R. 286 - 07/11/80 | R. 641 - 30/03/84 R.1801 – 17/11/95 |
| Mayonnaise and Salad dressing | R. 636 – 30/06/00 | - |

For the regulations and dispensations see:

www.daff.gov.za

↓

Divisions

↓

Food Safety and Quality Assurance

↓

Local and import regulations

MEMORANDUM

| TO: Responsible officer: Analytical Services Attention: | FROM: |
| --- | --- |
|  | Telephone: Fax: |
|  | Enquiries: |
| Your ref: | Ref: |
| Dated: | Date: |

SAMPLES FOR ANALYSIS

| Details of product | Container Size | Manufacturer | Internal Code |
| --- | --- | --- | --- |

Test to be done: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Special instructions: ________________________________________________________________________________________________________________________________________________________

Condition of samples received:_________________________________________________

___________________________________________________________________________

Received by:

Analytical Services:	____________________	Date: _______________ Time: _______

A & PP Division: 	____________________	Date: _______________ Time: _______

Annexure C

ANIMAL AND IMITATION DAIRY PRODUCTS AND PROCESSED PRODUCTS DIVISION

## Yvonne Tsiane				319 6059

# Milk

# Reconstituted milk

# Cream

# Imitation cream

# Buttermilk

# Cultured milk

# Blend/imitation milk

# Yoghurt

# Cream cheese

# Cottage cheese

# Condensed milk

# Milk powder

# Buttermilk powder

# Whey powder

# Butter oil

# Cheese powder

# Dairy powder blend,

# Dairy liquid blend

# Cultured liquid blend

# Cheese

# Process cheese

# Cheese spread

Butter

Modified butter

Niel Erasmus				319 6027

Mayonnaise

Salad Dressings

Vinegar

Honey

Fat spreads

Matlou Setati				319 6049

Dried Fruit

Poultry meat (still to be discussed for moisture:protein analysis in future)

#### Theo van Rensburg			319 6020

Ice cream / edible ices (tests will be similar to the Dairy ones – Regulation will come into effect in February 2014)

Fruit Juice

Fruit Nectar

Note – At the moment Niel Erasmus receives all the results and then distributes them to the relevant officials.